## About
CCaMC BAU Construction Cost per Unit Capacity
CCaMC Annual Fixed O&M Cost per Unit Capacity
CCaMC Variable O&M Cost per Unit Elec Output
Sources: | Capital Costs, Fixed O&M, Variable O&M (Except Hydro, Geothermal and Solar thermal) | EIA Costs
| National Renewable Energy Lab | Energy Information Administration
| 2015 | 2015
| Electricity Capacity Expansion Modeling, Analysis, and Visualization: A Summary of Selected High-Renewable Modeling Experiences | Assumptions to Annual Energy Outlook 2015
| https://www.nrel.gov/docs/fy16osti/64831.pdf | https://www.eia.gov/forecasts/aeo/assumptions/pdf/electricity.pdf
| Page 20, Table 2 | Electricity Market Module, Page 105, Table 8.2
| Hydro and Geothermal Costs | EIA LCOE
| IRENA | Energy Information Administration
| 2018 | 2016
| Renewable power generation costs in 2017 | Levelized Cost and Levelized Avoided Cost of New Generation Resources in the Annual Energy Outlook 2016
| http://www.irena.org/-/media/Files/IRENA/Agency/Publication/2018/Jan/IRENA_2017_Power_Costs_2018.pdf | https://www.eia.gov/outlooks/aeo/pdf/electricity_generation.pdf
| "Download the chart data" http://www.irena.org/publications/2018/Jan/Renewable-power-generation-costs-in-2017 | Table 1b.
Details in "Hydro and Geothermal" tab
| Cost Improvement Rate (Except Wind and Solar) | Solar Thermal Costs
| National Renewable Energy Lab | World Energy Council
| 2016 | 2013
| Annual Technology Baseline (ATB) Spreadshett - 2016 Final | World Energy Perspective: Cost of Energy Technologies
| http://www.nrel.gov/docs/fy16osti/66944-DA.xlsm | https://www.worldenergy.org/wp-content/uploads/2013/09/WEC_J1143_CostofTECHNOLOGIES_021013_WEB_Final.pdf
Page 26, Table 7
Cost Improvement Rate (Wind and Solar)
Gang He, Anne-Perrine Avrin, James H. Nelson, et al
2016
Supporting Information for "SWITCH-China: A Systems Approach to Decarbonize China’s Power System"
https://pubs.acs.org/doi/suppl/10.1021/acs.est.6b01345/suppl_file/es6b01345_si_001.pdf
Page S35-S36, Table SI-6, Table SI-7
Natural gas peaker, Petroleum & Lignite
See notes below
Notes:
Our general approach is to take start year capital costs and
cause them to decline at the same rate as costs declined in projections in relevant studies.
According to the NREL report,
"the CREAMEDO data are representative of the cost of technologies projected to be installed in China between 2010 and 2019",
so we assume the data applies for both the start year and the present.
For hydro, geothermal and solar thermal, the O&M costs are levelized.
To estimate the share of fixed and variable costs, we look at the share in the US for new power plants
based on the total amount of annual O&M expenses, and apportion the China data.
For geothermal, we use the global estimate as costs in China.
For natural gas peaker, we multifly the results of peaker by the ratio of their costs in the US for estimation.
For lignite, we assume the values the same as hard coal, although their variable costs can be different.
For petroleum, we cannot find related research (possibly because petro power plants are
are rare in China: https://www.iea.org/statistics/?country=CHINA&year=2016&category=Electricity&indicator=undefined&mode=chart&categoryBrowse=true&dataTable=ELECTRICITYANDHEAT),
so we substitute the cells with the US data.
Currency Year Adjustment
We adjust 2016 dollars to 2012 dollars using the following conversion factor:
0.953
We adjust 2014 dollars to 2012 dollars using the following conversion factor:
0.971
See "cpi.xlsx" in the InputData folder for source information.

## EDO
Type | CAPEX($/kW) |  | Fixed Annual O&M($/kW) |  | Variable O&M($/MWh)
| ATB | EDO | ATB | EDO | ATB | EDO
Wind-Onshore | 1827 | 1381.94 | 51 | 10.88 | 0 | 0
Wind-Offshore | 6340 | 2343.29 | 132 | 17.41 | 0 | 0
Solar-PV | 2647 | 1299.12 | 18 | 26.79 | 0 | 0
Gas-CC | 1021 | 357.26 | 14 | 7.37 | 3 | 0.06
Coal-new | 3446 | 1266.65 | 32 | 29.36 | 5 | 3.7
Biomass | 4278 | 1688.86 | 107 | 29.94 | 5 | 2.68
Nuclear | 6482 | 2101.33 | 95 | 133.16 | 2 | 4.71

## Hydro and Geothermal
| Installed Cost (USD/kW) | O&M Cost (USD/kW/y) | Capacity Factor | Note on O&M Cost
Hydro | 1694.7779 | 40 | 45.93% | Page 122, para 2 (we average the world's range from USD 20-60 kW/y)
Geothermal | 3546.1214 | 110 | 73.89% | Page 141, para 1
Figure 6.2 Total installed cost ranges and weighted averages for hydropower projects by country/region, 2010-2016 |  |  |  |  | Figure 8.1 Geothermal power total installed costs by project, technology and capacity, 2007-2020
| Weighted average 2016 USD/kW | 5th percentile
Region | 1800.53 | 932 | 95th percentile |  | Year | MAX (2016 USD/kW) | MIN (2016 USD/kW)
Africa | 1738.0152 | 1051 | 5238 |  | 2020 | 3665.857 | 3665.857
Brazil | 2900.15 | 1471 | 4013 |  | 2019 | 11057.1365 | 1995.273
Central America and the Caribbean | 1097.9774 | 784 | 3877 |  | 2018 | 4446.3244 | 1419.0364
China | 1694.7779 | 1124 | 1630 |  | 2017 | 7689.292 | 559.1665
Eurasia | 2138.3724 | 993 | 4080 |  | 2016 | 5045.4629 | 2046.7799
Europe | 1389.4476 | 880 | 6698 |  | 2015 | 8919.3826 | 2197.8604
India | 1705.2848 | 1300 | 2507 |  | 2014 | 8736.3403 | 1866.8848
Middle East | 2376.2769 | 1058 | 2112 |  | 2013 | 5161.8084 | 2029.0717
North America | 3598.6896 | 2489 | 5563 |  | 2012 | 8353.3013 | 2613.4318
Oceania | 1698.4992 | 908 | 4045 |  | 2010 | 4675.6562 | 1513.6512
Other Asia | 1988.5094 | 1186 | 3693 |  | 2009 | 3940.6516 | 3940.6516
Other South America |  |  | 3802 |  | 2008 | 2218.437 | 1226.0903
[5 empty] | 2007 | 1975.6515 | 1975.6515
Figure 6.5 Hydropower project capacity factors and capacity weighted averages for large and small hydropower projects by country/region, 2010-2016 |  |  |  |  | Figure 8.2 Capacity factors of new geothermal power plants by technology and project size, 2007-2020
Category | Region | Weighted average capacity factor % | 5th percentile | 95th percentile | Year | MAX capacity factor | MIN capacity factor
Large | Africa | 45.97% | 27.68% | 69.12% | 2020 | 80% | 80%
Small | Africa | 55.87% | 32.8% | 68.03% | 2019 | 80% | 60%
Large | Brazil | 60.93% | 50.83% | 80.12% | 2018 | 90% | 60%
Small | Brazil | 62.43% | 42.6% | 88.37% | 2017 | 90% | 57.08%
Large | Central America and the Caribbean | 49.82% | 27.28% | 61.57% | 2016 | 90% | 57.77%
Small | Central America and the Caribbean | 59.3% | 44.63% | 75% | 2015 | 95% | 80%
Large | China | 46.04% | 31.59% | 56.96% | 2014 | 92% | 41.1%
Small | China | 45.82% | 33.05% | 60.35% | 2013 | 92.37% | 80%
Large | Eurasia | 49.15% | 29.61% | 64.56% | 2012 | 90% | 80%
Small | Eurasia | 56.96% | 42.87% | 74.79% | 2010 | 92.98% | 80%
Large | Europe | 35.85% | 14.51% | 69.06% | 2009 | 74% | 74%
Small | Europe | 46.57% | 22.81% | 65.9% | 2008 | 81.24% | 81.24%
Large | India | 44.98% | 29.08% | 62.17% | 2007 | 80% | 80%
Small | India | 50.66% | 27.84% | 69.71%
Large | Middle East | 49.75% | 37.68% | 73.73%
Small | Middle East | 54.36% | 54.36% | 54.36%
Large | North America | 39.76% | 20.86% | 77.28%
Small | North America | 84.5% | 84.5% | 84.5%
Large | Oceania | 38.12% | 25.17% | 47.4%
Small | Oceania | 45.06% | 45.06% | 45.06%
Large | Other Asia | 47.67% | 37.15% | 65.58%
Small | Other Asia | 49.95% | 37.32% | 77.55%
Large | Other South America | 62.68% | 45.99% | 84.33%
Small | Other South America | 65.14% | 43.02% | 81.97%

## Solar thermal
| CAPEX (USDm/MW) | OPEX (USD/MW/yr) | Capacity factor (%) | LCOE (USD/MWh)
Solar thermal (parabolic trough) | 3.08-4.55 | 44000-45000 | 24-28 | 123-248
| 3.815 | 44500

## EIA Costs
Model Subscript | Model Power Plant Quality | EIA Technology Name | Tot 2014 Capital Cost (2013 $/kW) | Variable O&M (2013 $/MWh) | Fixed O&M (2013 $/kW/yr)
hard coal | preexisting retiring | Scrubbed Coal | 2917 | 4.47 | 31.16
|  | Integrated Coal Gassification Combined Cycle (IGCC) | 3727 | 7.22 | 51.37
hard coal | newly built | IGCC with Carbon Sequestration | 6492 | 8.44 | 72.8
natural gas nonpeaker | preexisting retiring | Conventional Gas/Oil Combined Cycle | 912 | 3.6 | 13.16
natural gas nonpeaker | newly built | Advanced Gas/Oil Combined Cycle | 1017 | 3.27 | 15.36
|  | Advanced Combined Cycle with Carbon Sequestration | 2072 | 6.78 | 31.77
natural gas peaker | preexisting retiring | Conventional Combustion Turbine | 968 | 15.44 | 7.34
natural gas peaker | newly built | Advanced Combustion Turbine | 671 | 10.37 | 7.04
|  | Fuel Cells | 6978 | 42.97 | 0
nuclear | both | Advanced Nuclear | 5366 | 2.14 | 93.23
|  | Distributed Generation - Base | 1477 | 7.75 | 17.44
|  | Distributed Generation - Peak | 1744 | 7.75 | 17.44
biomass | both | Biomass | 3659 | 5.26 | 105.58
geothermal | both | Geothermal | 2448 | 0 | 112.85
|  | Municipal Solid Waste | 8271 | 8.74 | 392.6
hydro | both | Conventional Hydropower | 2651 | 5.76 | 15.15
onshore wind | both | Onshore Wind | 1980 | 0 | 39.53
offshore wind | both | Offshore Wind | 6154 | 0 | 73.96
solar thermal | both | Solar Thermal | 4052 | 0 | 67.23
solar PV | both | Solar Photovoltaic | 3279 | 0 | 24.68
We do not use the values in red because they exceed real-world observed costs. We use other sources for
wind and solar PV capital costs.

## O&M Share
Table 1b. Estimated LCOE (simple average of regional values) for new generation resources, for plants | [9 empty] | Capacity Factor | Variable O&M (2013 $/MWh) | Fixed O&M (2013 $/kW/yr) | Annual Variable O&M (2013$/MW) | Annual Fixed O&M (2013$/MW) | Variable Share of Annual O&M
entering service in 2022 | [8 empty] | hydro | 58% | 5.76 | 15.15 | 29265.408 | 15150 | 0.6589
U.S. Average LCOE (2015 $/MWh) for Plants Entering Service in 2022 | [8 empty] | solar thermal | 20% | 0 | 67.23 | 0 | 67230 | 0
| Capacity | Levelized |  | Variable O&M |  | Total |  | Total LCOE | geothermal | 91% | 0 | 112.85 | 0 | 112850 | 0
| Factor | Capital | Fixed | (including | Transmission | System | Levelized | including
Plant Type | (%) | Cost | O&M | fuel) | Investment | LCOE | Tax Credit | Tax Credit1
Dispatchable Technologies
Advanced Coal with CCS2 | 85 | 97.2 | 9.2 | 31.9 | 1.2 | 139.5 | N/A | 139.5
Natural Gas-fired
Conventional Combined Cycle | 87 | 13.9 | 1.4 | 41.5 | 1.2 | 58.1 | N/A | 58.1
Advanced Combined Cycle | 87 | 15.8 | 1.3 | 38.9 | 1.2 | 57.2 | N/A | 57.2
Advanced CC with CCS | 87 | 29.2 | 4.3 | 50.1 | 1.2 | 84.8 | N/A | 84.8
Conventional Combustion | 30 | 40.9 | 6.5 | 59.9 | 3.4 | 110.8 | N/A | 110.8
Turbine
Advanced Combustion Turbine | 30 | 25.8 | 2.5 | 63 | 3.4 | 94.7 | N/A | 94.7
Advanced Nuclear | 90 | 78 | 12.4 | 11.3 | 1.1 | 102.8 | N/A | 102.8
Geothermal | 91 | 30.9 | 12.6 | 0 | 1.4 | 45 | -3.1 | 41.9
Biomass | 83 | 44.9 | 14.9 | 35 | 1.2 | 96.1 | N/A | 96.1
Non-Dispatchable Technologies
Wind | 40 | 48.5 | 13.2 | 0 | 2.8 | 64.5 | -7.6 | 56.9
Wind – Offshore | 45 | 134 | 19.3 | 0 | 4.8 | 158.1 | -11.4 | 146.7
Solar PV | 25 | 70.7 | 9.9 | 0 | 4.1 | 84.7 | -18.4 | 66.3
Solar Therma | 20 | 186.6 | 43.3 | 0 | 6 | 235.9 | -56 | 179.9
Hydroelectric4 | 58 | 57.5 | 3.6 | 4.9 | 1.9 | 67.8 | N/A | 67.8

## Cost Improvement (other)
Overnight Capital Cost
Model Electricity Source | NREL Electricity Source | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
coal | Coal-CCS-AvgCF-Low | 6542.8564 | 6542.8564 | 6542.8564 | 6542.8564 | 6457.9994 | 6359.4154 | 6253.4947 | 6216.5691 | 6184.8919 | 6153.2158 | 6114.6554 | 6081.4204 | 6041.6429 | 5992.8369 | 5959.8014 | 5919.9653 | 5875.8825 | 5836.3587 | 5802.7311 | 5761.2899 | 5724.7068 | 5689.7677 | 5656.0388 | 5616.511 | 5583.6748 | 5547.034 | 5512.4362 | 5476.0916 | 5439.747 | 5403.4024 | 5367.0577 | 5330.7131 | 5294.3685 | 5258.0239 | 5221.6792 | 5185.3346 | 5148.99
coal | Coal-CCS-AvgCF-Mid | 6542.8564 | 6542.8564 | 6542.8564 | 6542.8564 | 6457.9994 | 6359.4154 | 6253.4947 | 6216.5691 | 6184.8919 | 6153.2158 | 6114.6554 | 6081.4204 | 6041.6429 | 5992.8369 | 5959.8014 | 5919.9653 | 5875.8825 | 5836.3587 | 5802.7311 | 5761.2899 | 5724.7068 | 5689.7677 | 5656.0388 | 5616.511 | 5583.6748 | 5547.034 | 5512.4362 | 5476.0916 | 5439.747 | 5403.4024 | 5367.0577 | 5330.7131 | 5294.3685 | 5258.0239 | 5221.6792 | 5185.3346 | 5148.99
coal | Coal-CCS-AvgCF-High | 6542.8564 | 6542.8564 | 6542.8564 | 6542.8564 | 6457.9994 | 6359.4154 | 6253.4947 | 6216.5691 | 6184.8919 | 6153.2158 | 6114.6554 | 6081.4204 | 6041.6429 | 5992.8369 | 5959.8014 | 5919.9653 | 5875.8825 | 5836.3587 | 5802.7311 | 5761.2899 | 5724.7068 | 5689.7677 | 5656.0388 | 5616.511 | 5583.6748 | 5547.034 | 5512.4362 | 5476.0916 | 5439.747 | 5403.4024 | 5367.0577 | 5330.7131 | 5294.3685 | 5258.0239 | 5221.6792 | 5185.3346 | 5148.99
coal | Coal-CCS-HighCF-Low | 6542.8564 | 6542.8564 | 6542.8564 | 6542.8564 | 6457.9994 | 6359.4154 | 6253.4947 | 6216.5691 | 6184.8919 | 6153.2158 | 6114.6554 | 6081.4204 | 6041.6429 | 5992.8369 | 5959.8014 | 5919.9653 | 5875.8825 | 5836.3587 | 5802.7311 | 5761.2899 | 5724.7068 | 5689.7677 | 5656.0388 | 5616.511 | 5583.6748 | 5547.034 | 5512.4362 | 5476.0916 | 5439.747 | 5403.4024 | 5367.0577 | 5330.7131 | 5294.3685 | 5258.0239 | 5221.6792 | 5185.3346 | 5148.99
coal | Coal-CCS-HighCF-Mid | 6542.8564 | 6542.8564 | 6542.8564 | 6542.8564 | 6457.9994 | 6359.4154 | 6253.4947 | 6216.5691 | 6184.8919 | 6153.2158 | 6114.6554 | 6081.4204 | 6041.6429 | 5992.8369 | 5959.8014 | 5919.9653 | 5875.8825 | 5836.3587 | 5802.7311 | 5761.2899 | 5724.7068 | 5689.7677 | 5656.0388 | 5616.511 | 5583.6748 | 5547.034 | 5512.4362 | 5476.0916 | 5439.747 | 5403.4024 | 5367.0577 | 5330.7131 | 5294.3685 | 5258.0239 | 5221.6792 | 5185.3346 | 5148.99
coal | Coal-CCS-HighCF-High | 6542.8564 | 6542.8564 | 6542.8564 | 6542.8564 | 6457.9994 | 6359.4154 | 6253.4947 | 6216.5691 | 6184.8919 | 6153.2158 | 6114.6554 | 6081.4204 | 6041.6429 | 5992.8369 | 5959.8014 | 5919.9653 | 5875.8825 | 5836.3587 | 5802.7311 | 5761.2899 | 5724.7068 | 5689.7677 | 5656.0388 | 5616.511 | 5583.6748 | 5547.034 | 5512.4362 | 5476.0916 | 5439.747 | 5403.4024 | 5367.0577 | 5330.7131 | 5294.3685 | 5258.0239 | 5221.6792 | 5185.3346 | 5148.99
natural gas nonpeaker | Gas-CC-HighCF - Low | 1016.669 | 1016.669 | 1016.669 | 1004.309 | 1001.5171 | 997.9475 | 991.8651 | 988.9457 | 985.9727 | 983.0529 | 980.1345 | 977.0863 | 968.3795 | 961.6701 | 955.4492 | 951.0248 | 946.3222 | 942.0568 | 938.6629 | 935.6463 | 932.5859 | 929.1523 | 925.6954 | 922.7132 | 919.0732 | 916.0865 | 912.6652 | 909.2995 | 905.9338 | 902.5681 | 899.2024 | 895.8367 | 892.471 | 889.1053 | 885.7396 | 882.3739 | 879.0082
natural gas nonpeaker | Gas-CC-HighCF - Mid | 1016.669 | 1016.669 | 1016.669 | 1004.309 | 1001.5171 | 997.9475 | 991.8651 | 988.9457 | 985.9727 | 983.0529 | 980.1345 | 977.0863 | 968.3795 | 961.6701 | 955.4492 | 951.0248 | 946.3222 | 942.0568 | 938.6629 | 935.6463 | 932.5859 | 929.1523 | 925.6954 | 922.7132 | 919.0732 | 916.0865 | 912.6652 | 909.2995 | 905.9338 | 902.5681 | 899.2024 | 895.8367 | 892.471 | 889.1053 | 885.7396 | 882.3739 | 879.0082
natural gas nonpeaker | Gas-CC-HighCF - High | 1016.669 | 1016.669 | 1016.669 | 1004.309 | 1001.5171 | 997.9475 | 991.8651 | 988.9457 | 985.9727 | 983.0529 | 980.1345 | 977.0863 | 968.3795 | 961.6701 | 955.4492 | 951.0248 | 946.3222 | 942.0568 | 938.6629 | 935.6463 | 932.5859 | 929.1523 | 925.6954 | 922.7132 | 919.0732 | 916.0865 | 912.6652 | 909.2995 | 905.9338 | 902.5681 | 899.2024 | 895.8367 | 892.471 | 889.1053 | 885.7396 | 882.3739 | 879.0082
hydro | NPD 1 - Low | 5937.8629 | 5937.8629 | 5848.7949 | 5759.727 | 5670.659 | 5581.5911 | 5492.5231 | 5403.4552 | 5314.3873 | 5225.3193 | 5136.2514 | 5047.1834 | 4958.1155 | 4869.0475 | 4779.9796 | 4690.9117 | 4601.8437 | 4512.7758 | 4423.7078 | 4334.6399 | 4245.5719 | 4156.504 | 4135.5235 | 4114.5431 | 4093.5627 | 4072.5822 | 4051.6018 | 4030.6213 | 4009.6409 | 3988.6604 | 3967.68 | 3946.6995 | 3925.7191 | 3904.7386 | 3883.7582 | 3862.7777 | 3841.7973
hydro | NPD 1 - Mid | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629
hydro | NPD 1 - High | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629 | 5937.8629
hydro | NPD 2 - Low | 5404.5923 | 5404.5923 | 5323.5234 | 5242.4546 | 5161.3857 | 5080.3168 | 4999.2479 | 4918.179 | 4837.1101 | 4756.0412 | 4674.9724 | 4593.9035 | 4512.8346 | 4431.7657 | 4350.6968 | 4269.6279 | 4188.5591 | 4107.4902 | 4026.4213 | 3945.3524 | 3864.2835 | 3783.2146 | 3764.1184 | 3745.0222 | 3725.9259 | 3706.8297 | 3687.7335 | 3668.6373 | 3649.541 | 3630.4448 | 3611.3486 | 3592.2524 | 3573.1561 | 3554.0599 | 3534.9637 | 3515.8675 | 3496.7712
hydro | NPD 2 - Mid | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923
hydro | NPD 2 - High | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923 | 5404.5923
hydro | NPD 3 - Low | 3976.715 | 3976.715 | 3927.0061 | 3877.2971 | 3827.5882 | 3777.8792 | 3728.1703 | 3678.4614 | 3628.7524 | 3579.0435 | 3529.3346 | 3479.6256 | 3429.9167 | 3380.2077 | 3330.4988 | 3280.7899 | 3231.0809 | 3181.372 | 3131.6631 | 3081.9541 | 3032.2452 | 2982.5362 | 2962.1224 | 2941.7086 | 2921.2948 | 2900.881 | 2880.4672 | 2860.0534 | 2839.6396 | 2819.2258 | 2798.812 | 2778.3982 | 2757.9844 | 2737.5706 | 2717.1568 | 2696.743 | 2676.3292
hydro | NPD 3 - Mid | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715
hydro | NPD 3 - High | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715 | 3976.715
hydro | NPD 4 - Low | 3749.3454 | 3749.3454 | 3702.4786 | 3655.6118 | 3608.745 | 3561.8782 | 3515.0113 | 3468.1445 | 3421.2777 | 3374.4109 | 3327.5441 | 3280.6773 | 3233.8104 | 3186.9436 | 3140.0768 | 3093.21 | 3046.3432 | 2999.4763 | 2952.6095 | 2905.7427 | 2858.8759 | 2812.0091 | 2792.7624 | 2773.5158 | 2754.2692 | 2735.0225 | 2715.7759 | 2696.5292 | 2677.2826 | 2658.036 | 2638.7893 | 2619.5427 | 2600.296 | 2581.0494 | 2561.8028 | 2542.5561 | 2523.3095
hydro | NPD 4 - Mid | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454
hydro | NPD 4 - High | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454 | 3749.3454
hydro | NSD 1 - Low | 6997.7227 | 6997.7227 | 6892.7568 | 6787.791 | 6682.8251 | 6577.8593 | 6472.8935 | 6367.9276 | 6262.9618 | 6157.9959 | 6053.0301 | 5948.0643 | 5843.0984 | 5738.1326 | 5633.1667 | 5528.2009 | 5423.2351 | 5318.2692 | 5213.3034 | 5108.3375 | 5003.3717 | 4898.4059 | 4873.6806 | 4848.9553 | 4824.23 | 4799.5047 | 4774.7794 | 4750.0541 | 4725.3289 | 4700.6036 | 4675.8783 | 4651.153 | 4626.4277 | 4601.7024 | 4576.9771 | 4552.2518 | 4527.5266
hydro | NSD 1 - Mid | 6997.7227 | 6988.7607 | 6979.7988 | 6961.9438 | 6944.0888 | 6926.3251 | 6908.5615 | 6890.8887 | 6873.216 | 6855.6336 | 6838.0512 | 6820.5588 | 6803.0664 | 6785.6635 | 6768.2605 | 6750.9467 | 6733.6328 | 6716.4075 | 6699.1822 | 6682.0451 | 6664.9079 | 6647.8584 | 6630.8089 | 6613.8466 | 6596.8844 | 6580.0089 | 6563.1334 | 6546.3443 | 6529.5551 | 6512.8519 | 6496.1486 | 6479.5309 | 6462.9131 | 6446.3803 | 6429.8475 | 6413.3993 | 6396.9512
hydro | NSD 1 - High | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227 | 6997.7227
hydro | NSD 2 - Low | 6247.0409 | 6247.0409 | 6153.3352 | 6059.6296 | 5965.924 | 5872.2184 | 5778.5128 | 5684.8072 | 5591.1016 | 5497.3959 | 5403.6903 | 5309.9847 | 5216.2791 | 5122.5735 | 5028.8679 | 4935.1623 | 4841.4567 | 4747.751 | 4654.0454 | 4560.3398 | 4466.6342 | 4372.9286 | 4350.8557 | 4328.7828 | 4306.71 | 4284.6371 | 4262.5642 | 4240.4913 | 4218.4185 | 4196.3456 | 4174.2727 | 4152.1998 | 4130.1269 | 4108.0541 | 4085.9812 | 4063.9083 | 4041.8354
hydro | NSD 2 - Mid | 6247.0409 | 6239.0403 | 6231.0398 | 6215.1002 | 6199.1606 | 6183.3025 | 6167.4444 | 6151.6675 | 6135.8906 | 6120.1944 | 6104.4982 | 6088.8823 | 6073.2664 | 6057.7303 | 6042.1943 | 6026.7378 | 6011.2813 | 5995.9038 | 5980.5264 | 5965.2276 | 5949.9288 | 5934.7083 | 5919.4878 | 5904.3452 | 5889.2025 | 5874.1374 | 5859.0723 | 5844.0842 | 5829.0961 | 5814.1847 | 5799.2733 | 5784.4382 | 5769.6031 | 5754.8438 | 5740.0846 | 5725.4009 | 5710.7172
hydro | NSD 2 - High | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409 | 6247.0409
hydro | NSD 3 - Low | 6118.617 | 6118.617 | 6026.8378 | 5935.0585 | 5843.2792 | 5751.5 | 5659.7207 | 5567.9415 | 5476.1622 | 5384.383 | 5292.6037 | 5200.8245 | 5109.0452 | 5017.266 | 4925.4867 | 4833.7074 | 4741.9282 | 4650.1489 | 4558.3697 | 4466.5904 | 4374.8112 | 4283.0319 | 4261.4128 | 4239.7937 | 4218.1746 | 4196.5555 | 4174.9363 | 4153.3172 | 4131.6981 | 4110.079 | 4088.4599 | 4066.8408 | 4045.2217 | 4023.6025 | 4001.9834 | 3980.3643 | 3958.7452
hydro | NSD 3 - Mid | 6118.617 | 6110.781 | 6102.9449 | 6087.333 | 6071.7211 | 6056.189 | 6040.6569 | 6025.2043 | 6009.7518 | 5994.3782 | 5979.0047 | 5963.7098 | 5948.4149 | 5933.1983 | 5917.9816 | 5902.8429 | 5887.7041 | 5872.6428 | 5857.5815 | 5842.5972 | 5827.6129 | 5812.7053 | 5797.7977 | 5782.9663 | 5768.135 | 5753.3795 | 5738.6241 | 5723.9441 | 5709.2642 | 5694.6593 | 5680.0544 | 5665.5243 | 5650.9942 | 5636.5384 | 5622.0826 | 5607.7007 | 5593.3189
hydro | NSD 3 - High | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617 | 6118.617
hydro | NSD 4 - Low | 5508.1456 | 5508.1456 | 5425.5234 | 5342.9012 | 5260.2791 | 5177.6569 | 5095.0347 | 5012.4125 | 4929.7903 | 4847.1681 | 4764.5459 | 4681.9238 | 4599.3016 | 4516.6794 | 4434.0572 | 4351.435 | 4268.8128 | 4186.1907 | 4103.5685 | 4020.9463 | 3938.3241 | 3855.7019 | 3836.2398 | 3816.7777 | 3797.3156 | 3777.8535 | 3758.3914 | 3738.9292 | 3719.4671 | 3700.005 | 3680.5429 | 3661.0808 | 3641.6187 | 3622.1565 | 3602.6944 | 3583.2323 | 3563.7702
hydro | NSD 4 - Mid | 5508.1456 | 5501.0914 | 5494.0371 | 5479.9829 | 5465.9286 | 5451.9462 | 5437.9638 | 5424.053 | 5410.1421 | 5396.3025 | 5382.4628 | 5368.6939 | 5354.925 | 5341.2266 | 5327.5282 | 5313.8998 | 5300.2715 | 5286.7129 | 5273.1543 | 5259.665 | 5246.1758 | 5232.7555 | 5219.3353 | 5205.9837 | 5192.6321 | 5179.3489 | 5166.0656 | 5152.8503 | 5139.635 | 5126.4873 | 5113.3396 | 5100.2592 | 5087.1788 | 5074.1653 | 5061.1518 | 5048.2048 | 5035.2579
hydro | NSD 4 - High | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456 | 5508.1456
nuclear | Nuclear - Mid | 5486.0753 | 5486.0753 | 5486.0753 | 5486.0753 | 5486.0753 | 5486.0753 | 5486.0753 | 5486.0753 | 5486.0753 | 5456.9419 | 5427.8146 | 5398.682 | 5369.5541 | 5340.4236 | 5311.292 | 5282.165 | 5253.0334 | 5223.8994 | 5194.7715 | 5165.6424 | 5136.5121 | 5107.3812 | 5078.2493 | 5049.1202 | 5019.989 | 4990.861 | 4961.7269 | 4932.5963 | 4903.4656 | 4874.335 | 4845.2043 | 4816.0737 | 4786.943 | 4757.8124 | 4728.6818 | 4699.5511 | 4670.4205
solar thermal | 6 hrs TES - Class 1 - Low | 6846 | 6470.5 | 6095 | 5719.5 | 5344 | 4968.5 | 4593 | 4289.4 | 3985.8 | 3682.2 | 3378.6 | 3075 | 3017.5935 | 2964.8561 | 2916.1195 | 2870.8487 | 2828.6091 | 2789.0426 | 2751.8509 | 2716.7824 | 2683.6236 | 2652.1912 | 2622.3269 | 2593.893 | 2566.7692 | 2540.8494 | 2516.0397 | 2492.2568 | 2469.4261 | 2447.481 | 2426.3612 | 2406.0126 | 2386.3858 | 2367.4362 | 2349.123 | 2331.409 | 2314.2599
solar thermal | 6 hrs TES - Class 1 - Mid | 6846 | 6470.5 | 6095 | 5719.5 | 5344 | 4968.5 | 4593 | 4441.2 | 4289.4 | 4137.6 | 3985.8 | 3834 | 3682.2 | 3530.4 | 3378.6 | 3226.8 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075
solar thermal | 6 hrs TES - Class 1 - High | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846
solar thermal | 6 hrs TES - Class 3 - Low | 6846 | 6470.5 | 6095 | 5719.5 | 5344 | 4968.5 | 4593 | 4289.4 | 3985.8 | 3682.2 | 3378.6 | 3075 | 3017.5935 | 2964.8561 | 2916.1195 | 2870.8487 | 2828.6091 | 2789.0426 | 2751.8509 | 2716.7824 | 2683.6236 | 2652.1912 | 2622.3269 | 2593.893 | 2566.7692 | 2540.8494 | 2516.0397 | 2492.2568 | 2469.4261 | 2447.481 | 2426.3612 | 2406.0126 | 2386.3858 | 2367.4362 | 2349.123 | 2331.409 | 2314.2599
solar thermal | 6 hrs TES - Class 3 - Mid | 6846 | 6470.5 | 6095 | 5719.5 | 5344 | 4968.5 | 4593 | 4441.2 | 4289.4 | 4137.6 | 3985.8 | 3834 | 3682.2 | 3530.4 | 3378.6 | 3226.8 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075
solar thermal | 6 hrs TES - Class 3 - High | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846
solar thermal | 6 hrs TES - Class 5 - Low | 6846 | 6470.5 | 6095 | 5719.5 | 5344 | 4968.5 | 4593 | 4289.4 | 3985.8 | 3682.2 | 3378.6 | 3075 | 3017.5935 | 2964.8561 | 2916.1195 | 2870.8487 | 2828.6091 | 2789.0426 | 2751.8509 | 2716.7824 | 2683.6236 | 2652.1912 | 2622.3269 | 2593.893 | 2566.7692 | 2540.8494 | 2516.0397 | 2492.2568 | 2469.4261 | 2447.481 | 2426.3612 | 2406.0126 | 2386.3858 | 2367.4362 | 2349.123 | 2331.409 | 2314.2599
solar thermal | 6 hrs TES - Class 5 - Mid | 6846 | 6470.5 | 6095 | 5719.5 | 5344 | 4968.5 | 4593 | 4441.2 | 4289.4 | 4137.6 | 3985.8 | 3834 | 3682.2 | 3530.4 | 3378.6 | 3226.8 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075 | 3075
solar thermal | 6 hrs TES - Class 5 - High | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846 | 6846
solar thermal | 10hrs TES - Class 1 - Low | 8024.8 | 7618.9667 | 7213.1333 | 6807.3 | 6401.4667 | 5995.6333 | 5589.8 | 5178.6 | 4767.4 | 4356.2 | 3945 | 3533.8 | 3471.6687 | 3414.5683 | 3361.78 | 3312.7285 | 3266.9461 | 3224.0474 | 3183.7112 | 3145.6669 | 3109.6842 | 3075.5659 | 3043.1414 | 3012.2623 | 2982.7989 | 2954.6368 | 2927.6749 | 2901.8231 | 2877.0013 | 2853.1373 | 2830.1664 | 2808.0298 | 2786.6746 | 2766.0523 | 2746.1191 | 2726.8347 | 2708.1621
solar thermal | 10hrs TES - Class 1 - Mid | 8024.8 | 7618.9667 | 7213.1333 | 6807.3 | 6401.4667 | 5995.6333 | 5589.8 | 5384.2 | 5178.6 | 4973 | 4767.4 | 4561.8 | 4356.2 | 4150.6 | 3945 | 3739.4 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8
solar thermal | 10hrs TES - Class 1 - High | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8
solar thermal | 10hrs TES - Class 3 - Low | 8024.8 | 7618.9667 | 7213.1333 | 6807.3 | 6401.4667 | 5995.6333 | 5589.8 | 5178.6 | 4767.4 | 4356.2 | 3945 | 3533.8 | 3471.6687 | 3414.5683 | 3361.78 | 3312.7285 | 3266.9461 | 3224.0474 | 3183.7112 | 3145.6669 | 3109.6842 | 3075.5659 | 3043.1414 | 3012.2623 | 2982.7989 | 2954.6368 | 2927.6749 | 2901.8231 | 2877.0013 | 2853.1373 | 2830.1664 | 2808.0298 | 2786.6746 | 2766.0523 | 2746.1191 | 2726.8347 | 2708.1621
solar thermal | 10hrs TES - Class 3 - Mid | 8024.8 | 7618.9667 | 7213.1333 | 6807.3 | 6401.4667 | 5995.6333 | 5589.8 | 5384.2 | 5178.6 | 4973 | 4767.4 | 4561.8 | 4356.2 | 4150.6 | 3945 | 3739.4 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8
solar thermal | 10hrs TES - Class 3 - High | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8
solar thermal | 10hrs TES - Class 5 - Low | 8024.8 | 7618.9667 | 7213.1333 | 6807.3 | 6401.4667 | 5995.6333 | 5589.8 | 5178.6 | 4767.4 | 4356.2 | 3945 | 3533.8 | 3471.6687 | 3414.5683 | 3361.78 | 3312.7285 | 3266.9461 | 3224.0474 | 3183.7112 | 3145.6669 | 3109.6842 | 3075.5659 | 3043.1414 | 3012.2623 | 2982.7989 | 2954.6368 | 2927.6749 | 2901.8231 | 2877.0013 | 2853.1373 | 2830.1664 | 2808.0298 | 2786.6746 | 2766.0523 | 2746.1191 | 2726.8347 | 2708.1621
solar thermal | 10hrs TES - Class 5 - Mid | 8024.8 | 7618.9667 | 7213.1333 | 6807.3 | 6401.4667 | 5995.6333 | 5589.8 | 5384.2 | 5178.6 | 4973 | 4767.4 | 4561.8 | 4356.2 | 4150.6 | 3945 | 3739.4 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8 | 3533.8
solar thermal | 10hrs TES - Class 5 - High | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8 | 8024.8
biomass | Dedicated - Low | 3717.544 | 3710.949 | 3704.3541 | 3652.804 | 3636.1528 | 3639.8392 | 3625.9569 | 3612.0726 | 3598.1888 | 3584.3028 | 3570.4209 | 3556.5353 | 3542.6533 | 3528.7691 | 3514.8841 | 3501.0027 | 3487.118 | 3473.2314 | 3459.349 | 3445.4665 | 3431.5823 | 3417.6978 | 3403.8126 | 3389.9297 | 3376.0452 | 3362.1627 | 3348.2763 | 3334.3921 | 3320.5079 | 3306.6238 | 3292.7396 | 3278.8554 | 3264.9713 | 3251.0871 | 3237.2029 | 3223.3188 | 3209.4346
biomass | Dedicated - Mid | 3717.544 | 3710.949 | 3704.3541 | 3652.804 | 3636.1528 | 3639.8392 | 3625.9569 | 3612.0726 | 3598.1888 | 3584.3028 | 3570.4209 | 3556.5353 | 3542.6533 | 3528.7691 | 3514.8841 | 3501.0027 | 3487.118 | 3473.2314 | 3459.349 | 3445.4665 | 3431.5823 | 3417.6978 | 3403.8126 | 3389.9297 | 3376.0452 | 3362.1627 | 3348.2763 | 3334.3921 | 3320.5079 | 3306.6238 | 3292.7396 | 3278.8554 | 3264.9713 | 3251.0871 | 3237.2029 | 3223.3188 | 3209.4346
biomass | Dedicated - High | 3717.544 | 3710.949 | 3704.3541 | 3652.804 | 3636.1528 | 3639.8392 | 3625.9569 | 3612.0726 | 3598.1888 | 3584.3028 | 3570.4209 | 3556.5353 | 3542.6533 | 3528.7691 | 3514.8841 | 3501.0027 | 3487.118 | 3473.2314 | 3459.349 | 3445.4665 | 3431.5823 | 3417.6978 | 3403.8126 | 3389.9297 | 3376.0452 | 3362.1627 | 3348.2763 | 3334.3921 | 3320.5079 | 3306.6238 | 3292.7396 | 3278.8554 | 3264.9713 | 3251.0871 | 3237.2029 | 3223.3188 | 3209.4346
biomass | CofireOld - Low | 3829.4707 | 3829.4707 | 3829.4707 | 3786.4985 | 3776.7918 | 3786.5606 | 3777.7674 | 3768.9716 | 3760.1761 | 3751.3785 | 3742.5855 | 3733.7882 | 3724.9951 | 3716.199 | 3707.403 | 3698.61 | 3689.814 | 3681.0161 | 3672.2224 | 3663.4282 | 3654.6325 | 3645.8368 | 3637.0402 | 3628.2459 | 3619.45 | 3610.656 | 3601.8584 | 3593.0628 | 3584.2673 | 3575.4717 | 3566.6761 | 3557.8806 | 3549.085 | 3540.2895 | 3531.4939 | 3522.6983 | 3513.9028
biomass | CofireOld - Mid | 3829.4707 | 3829.4707 | 3829.4707 | 3786.4985 | 3776.7918 | 3786.5606 | 3777.7674 | 3768.9716 | 3760.1761 | 3751.3785 | 3742.5855 | 3733.7882 | 3724.9951 | 3716.199 | 3707.403 | 3698.61 | 3689.814 | 3681.0161 | 3672.2224 | 3663.4282 | 3654.6325 | 3645.8368 | 3637.0402 | 3628.2459 | 3619.45 | 3610.656 | 3601.8584 | 3593.0628 | 3584.2673 | 3575.4717 | 3566.6761 | 3557.8806 | 3549.085 | 3540.2895 | 3531.4939 | 3522.6983 | 3513.9028
biomass | CofireOld - High | 3829.4707 | 3829.4707 | 3829.4707 | 3786.4985 | 3776.7918 | 3786.5606 | 3777.7674 | 3768.9716 | 3760.1761 | 3751.3785 | 3742.5855 | 3733.7882 | 3724.9951 | 3716.199 | 3707.403 | 3698.61 | 3689.814 | 3681.0161 | 3672.2224 | 3663.4282 | 3654.6325 | 3645.8368 | 3637.0402 | 3628.2459 | 3619.45 | 3610.656 | 3601.8584 | 3593.0628 | 3584.2673 | 3575.4717 | 3566.6761 | 3557.8806 | 3549.085 | 3540.2895 | 3531.4939 | 3522.6983 | 3513.9028
biomass | CofireNew - Low | 3829.4707 | 3829.4707 | 3829.4707 | 3786.4985 | 3776.7918 | 3786.5606 | 3777.7674 | 3768.9716 | 3760.1761 | 3751.3785 | 3742.5855 | 3733.7882 | 3724.9951 | 3716.199 | 3707.403 | 3698.61 | 3689.814 | 3681.0161 | 3672.2224 | 3663.4282 | 3654.6325 | 3645.8368 | 3637.0402 | 3628.2459 | 3619.45 | 3610.656 | 3601.8584 | 3593.0628 | 3584.2673 | 3575.4717 | 3566.6761 | 3557.8806 | 3549.085 | 3540.2895 | 3531.4939 | 3522.6983 | 3513.9028
biomass | CofireNew - Mid | 3829.4707 | 3829.4707 | 3829.4707 | 3786.4985 | 3776.7918 | 3786.5606 | 3777.7674 | 3768.9716 | 3760.1761 | 3751.3785 | 3742.5855 | 3733.7882 | 3724.9951 | 3716.199 | 3707.403 | 3698.61 | 3689.814 | 3681.0161 | 3672.2224 | 3663.4282 | 3654.6325 | 3645.8368 | 3637.0402 | 3628.2459 | 3619.45 | 3610.656 | 3601.8584 | 3593.0628 | 3584.2673 | 3575.4717 | 3566.6761 | 3557.8806 | 3549.085 | 3540.2895 | 3531.4939 | 3522.6983 | 3513.9028
biomass | CofireNew - High | 3829.4707 | 3829.4707 | 3829.4707 | 3786.4985 | 3776.7918 | 3786.5606 | 3777.7674 | 3768.9716 | 3760.1761 | 3751.3785 | 3742.5855 | 3733.7882 | 3724.9951 | 3716.199 | 3707.403 | 3698.61 | 3689.814 | 3681.0161 | 3672.2224 | 3663.4282 | 3654.6325 | 3645.8368 | 3637.0402 | 3628.2459 | 3619.45 | 3610.656 | 3601.8584 | 3593.0628 | 3584.2673 | 3575.4717 | 3566.6761 | 3557.8806 | 3549.085 | 3540.2895 | 3531.4939 | 3522.6983 | 3513.9028
geothermal | Hydro / Flash - Low | 4567 | 4567 | 4544.165 | 4521.33 | 4498.495 | 4475.66 | 4452.825 | 4429.99 | 4407.155 | 4384.32 | 4361.485 | 4338.65 | 4315.815 | 4292.98 | 4270.145 | 4247.31 | 4224.475 | 4201.64 | 4178.805 | 4155.97 | 4133.135 | 4110.3 | 4087.465 | 4064.63 | 4041.795 | 4018.96 | 3996.125 | 3973.29 | 3950.455 | 3927.62 | 3904.785 | 3881.95 | 3859.115 | 3836.28 | 3813.445 | 3790.61 | 3767.775
geothermal | Hydro / Flash - Mid | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567
geothermal | Hydro / Flash - High | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567 | 4567
geothermal | Hydro / Binary - Low | 5465 | 5465 | 5437.675 | 5410.35 | 5383.025 | 5355.7 | 5328.375 | 5301.05 | 5273.725 | 5246.4 | 5219.075 | 5191.75 | 5164.425 | 5137.1 | 5109.775 | 5082.45 | 5055.125 | 5027.8 | 5000.475 | 4973.15 | 4945.825 | 4918.5 | 4891.175 | 4863.85 | 4836.525 | 4809.2 | 4781.875 | 4754.55 | 4727.225 | 4699.9 | 4672.575 | 4645.25 | 4617.925 | 4590.6 | 4563.275 | 4535.95 | 4508.625
geothermal | Hydro / Binary - Mid | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465
geothermal | Hydro / Binary - High | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465 | 5465
geothermal | NF EGS / Flash - Low | 8100 | 8100 | 8059.5 | 8019 | 7978.5 | 7938 | 7897.5 | 7857 | 7816.5 | 7776 | 7735.5 | 7695 | 7654.5 | 7614 | 7573.5 | 7533 | 7492.5 | 7452 | 7411.5 | 7371 | 7330.5 | 7290 | 7249.5 | 7209 | 7168.5 | 7128 | 7087.5 | 7047 | 7006.5 | 6966 | 6925.5 | 6885 | 6844.5 | 6804 | 6763.5 | 6723 | 6682.5
geothermal | NF EGS / Flash - Mid | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100
geothermal | NF EGS / Flash - High | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100
geothermal | NF EGS / Binary - Low | 12179 | 12179 | 12118.105 | 12057.21 | 11996.315 | 11935.42 | 11874.525 | 11813.63 | 11752.735 | 11691.84 | 11630.945 | 11570.05 | 11509.155 | 11448.26 | 11387.365 | 11326.47 | 11265.575 | 11204.68 | 11143.785 | 11082.89 | 11021.995 | 10961.1 | 10900.205 | 10839.31 | 10778.415 | 10717.52 | 10656.625 | 10595.73 | 10534.835 | 10473.94 | 10413.045 | 10352.15 | 10291.255 | 10230.36 | 10169.465 | 10108.57 | 10047.675
geothermal | NF EGS / Binary - Mid | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179
geothermal | NF EGS / Binary - High | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179
geothermal | Deep EGS / Flash - Low | 8100 | 8100 | 8059.5 | 8019 | 7978.5 | 7938 | 7897.5 | 7857 | 7816.5 | 7776 | 7735.5 | 7695 | 7654.5 | 7614 | 7573.5 | 7533 | 7492.5 | 7452 | 7411.5 | 7371 | 7330.5 | 7290 | 7249.5 | 7209 | 7168.5 | 7128 | 7087.5 | 7047 | 7006.5 | 6966 | 6925.5 | 6885 | 6844.5 | 6804 | 6763.5 | 6723 | 6682.5
geothermal | Deep EGS / Flash - Mid | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100
geothermal | Deep EGS / Flash - High | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100 | 8100
geothermal | Deep EGS / Binary - Low | 12179 | 12179 | 12118.105 | 12057.21 | 11996.315 | 11935.42 | 11874.525 | 11813.63 | 11752.735 | 11691.84 | 11630.945 | 11570.05 | 11509.155 | 11448.26 | 11387.365 | 11326.47 | 11265.575 | 11204.68 | 11143.785 | 11082.89 | 11021.995 | 10961.1 | 10900.205 | 10839.31 | 10778.415 | 10717.52 | 10656.625 | 10595.73 | 10534.835 | 10473.94 | 10413.045 | 10352.15 | 10291.255 | 10230.36 | 10169.465 | 10108.57 | 10047.675
geothermal | Deep EGS / Binary - Mid | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179
geothermal | Deep EGS / Binary - High | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179 | 12179
natural gas peaker | Gas-CT-AvgCF - Low | 869.1945 | 869.1945 | 869.1945 | 858.6274 | 856.0641 | 852.8349 | 847.0327 | 844.4692 | 841.8509 | 839.287 | 836.7242 | 834.029 | 825.5399 | 819.0959 | 813.1521 | 809.0475 | 804.6582 | 800.7166 | 797.6673 | 795.0041 | 792.2962 | 789.2061 | 786.0923 | 783.4643 | 780.1631 | 777.5305 | 774.4532 | 771.4327 | 768.4122 | 765.3917 | 762.3712 | 759.3507 | 756.3302 | 753.3097 | 750.2892 | 747.2687 | 744.2482
natural gas peaker | Gas-CT-AvgCF - Mid | 869.1945 | 869.1945 | 869.1945 | 858.6274 | 856.0641 | 852.8349 | 847.0327 | 844.4692 | 841.8509 | 839.287 | 836.7242 | 834.029 | 825.5399 | 819.0959 | 813.1521 | 809.0475 | 804.6582 | 800.7166 | 797.6673 | 795.0041 | 792.2962 | 789.2061 | 786.0923 | 783.4643 | 780.1631 | 777.5305 | 774.4532 | 771.4327 | 768.4122 | 765.3917 | 762.3712 | 759.3507 | 756.3302 | 753.3097 | 750.2892 | 747.2687 | 744.2482
natural gas peaker | Gas-CT-AvgCF - High | 869.1945 | 869.1945 | 869.1945 | 858.6274 | 856.0641 | 852.8349 | 847.0327 | 844.4692 | 841.8509 | 839.287 | 836.7242 | 834.029 | 825.5399 | 819.0959 | 813.1521 | 809.0475 | 804.6582 | 800.7166 | 797.6673 | 795.0041 | 792.2962 | 789.2061 | 786.0923 | 783.4643 | 780.1631 | 777.5305 | 774.4532 | 771.4327 | 768.4122 | 765.3917 | 762.3712 | 759.3507 | 756.3302 | 753.3097 | 750.2892 | 747.2687 | 744.2482
offshore wind | TRG 1 - Low | 5391.5126 | 5074.8167 | 4757.8205 | 4612.5306 | 4467.2407 | 4321.9508 | 4176.6608 | 4000.5518 | 3824.4428 | 3648.3338 | 3595.5011 | 3542.6684 | 3489.8357 | 3437.003 | 3384.1703 | 3331.3376 | 3278.5049 | 3252.0886 | 3225.6722 | 3199.2559 | 3172.8395 | 3146.4232 | 3120.0068 | 3093.5905 | 3067.1741 | 3040.7578 | 3014.3414 | 2990.5667 | 2966.792 | 2943.0173 | 2919.2426 | 2895.4678 | 2871.6931 | 2847.9184 | 2824.1437 | 2800.369 | 2776.5943
offshore wind | TRG 1 - Mid | 5391.5126 | 5276.7774 | 5161.7418 | 5021.137 | 4880.5321 | 4739.9273 | 4599.3224 | 4423.2134 | 4247.1044 | 4070.9954 | 4048.3528 | 4025.7103 | 4003.0677 | 3980.4251 | 3957.7825 | 3935.1399 | 3912.4973 | 3901.9308 | 3891.3642 | 3880.7977 | 3870.2312 | 3859.6646 | 3849.0981 | 3838.5315 | 3827.965 | 3817.3985 | 3806.8319 | 3794.8216 | 3782.8114 | 3770.8011 | 3758.7908 | 3746.7806 | 3734.7703 | 3722.76 | 3710.7497 | 3698.7395 | 3686.7292
offshore wind | TRG 1 - High | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126
offshore wind | TRG 2 - Low | 5391.5126 | 5074.8167 | 4757.8205 | 4612.5306 | 4467.2407 | 4321.9508 | 4176.6608 | 4000.5518 | 3824.4428 | 3648.3338 | 3595.5011 | 3542.6684 | 3489.8357 | 3437.003 | 3384.1703 | 3331.3376 | 3278.5049 | 3252.0886 | 3225.6722 | 3199.2559 | 3172.8395 | 3146.4232 | 3120.0068 | 3093.5905 | 3067.1741 | 3040.7578 | 3014.3414 | 2990.5667 | 2966.792 | 2943.0173 | 2919.2426 | 2895.4678 | 2871.6931 | 2847.9184 | 2824.1437 | 2800.369 | 2776.5943
offshore wind | TRG 2 - Mid | 5391.5126 | 5276.7774 | 5161.7418 | 5021.137 | 4880.5321 | 4739.9273 | 4599.3224 | 4423.2134 | 4247.1044 | 4070.9954 | 4048.3528 | 4025.7103 | 4003.0677 | 3980.4251 | 3957.7825 | 3935.1399 | 3912.4973 | 3901.9308 | 3891.3642 | 3880.7977 | 3870.2312 | 3859.6646 | 3849.0981 | 3838.5315 | 3827.965 | 3817.3985 | 3806.8319 | 3794.8216 | 3782.8114 | 3770.8011 | 3758.7908 | 3746.7806 | 3734.7703 | 3722.76 | 3710.7497 | 3698.7395 | 3686.7292
offshore wind | TRG 2 - High | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126
offshore wind | TRG 3 - Low | 5391.5126 | 5074.8167 | 4757.8205 | 4612.5306 | 4467.2407 | 4321.9508 | 4176.6608 | 4000.5518 | 3824.4428 | 3648.3338 | 3595.5011 | 3542.6684 | 3489.8357 | 3437.003 | 3384.1703 | 3331.3376 | 3278.5049 | 3252.0886 | 3225.6722 | 3199.2559 | 3172.8395 | 3146.4232 | 3120.0068 | 3093.5905 | 3067.1741 | 3040.7578 | 3014.3414 | 2990.5667 | 2966.792 | 2943.0173 | 2919.2426 | 2895.4678 | 2871.6931 | 2847.9184 | 2824.1437 | 2800.369 | 2776.5943
offshore wind | TRG 3 - Mid | 5391.5126 | 5276.7774 | 5161.7418 | 5021.137 | 4880.5321 | 4739.9273 | 4599.3224 | 4423.2134 | 4247.1044 | 4070.9954 | 4048.3528 | 4025.7103 | 4003.0677 | 3980.4251 | 3957.7825 | 3935.1399 | 3912.4973 | 3901.9308 | 3891.3642 | 3880.7977 | 3870.2312 | 3859.6646 | 3849.0981 | 3838.5315 | 3827.965 | 3817.3985 | 3806.8319 | 3794.8216 | 3782.8114 | 3770.8011 | 3758.7908 | 3746.7806 | 3734.7703 | 3722.76 | 3710.7497 | 3698.7395 | 3686.7292
offshore wind | TRG 3 - High | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126
offshore wind | TRG 4 - Low | 5391.5126 | 5074.8167 | 4757.8205 | 4612.5306 | 4467.2407 | 4321.9508 | 4176.6608 | 4000.5518 | 3824.4428 | 3648.3338 | 3595.5011 | 3542.6684 | 3489.8357 | 3437.003 | 3384.1703 | 3331.3376 | 3278.5049 | 3252.0886 | 3225.6722 | 3199.2559 | 3172.8395 | 3146.4232 | 3120.0068 | 3093.5905 | 3067.1741 | 3040.7578 | 3014.3414 | 2990.5667 | 2966.792 | 2943.0173 | 2919.2426 | 2895.4678 | 2871.6931 | 2847.9184 | 2824.1437 | 2800.369 | 2776.5943
offshore wind | TRG 4 - Mid | 5391.5126 | 5276.7774 | 5161.7418 | 5021.137 | 4880.5321 | 4739.9273 | 4599.3224 | 4423.2134 | 4247.1044 | 4070.9954 | 4048.3528 | 4025.7103 | 4003.0677 | 3980.4251 | 3957.7825 | 3935.1399 | 3912.4973 | 3901.9308 | 3891.3642 | 3880.7977 | 3870.2312 | 3859.6646 | 3849.0981 | 3838.5315 | 3827.965 | 3817.3985 | 3806.8319 | 3794.8216 | 3782.8114 | 3770.8011 | 3758.7908 | 3746.7806 | 3734.7703 | 3722.76 | 3710.7497 | 3698.7395 | 3686.7292
offshore wind | TRG 4 - High | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126 | 5391.5126
offshore wind | TRG 5 - Low | 5953.3433 | 5602.9376 | 5252.2315 | 5091.4912 | 4930.751 | 4770.0107 | 4609.2704 | 4414.4337 | 4219.5971 | 4024.7604 | 3966.3094 | 3907.8584 | 3849.4073 | 3790.9563 | 3732.5053 | 3674.0543 | 3615.6033 | 3586.3778 | 3557.1523 | 3527.9268 | 3498.7013 | 3469.4758 | 3440.2503 | 3411.0248 | 3381.7993 | 3352.5738 | 3323.3483 | 3297.0453 | 3270.7424 | 3244.4394 | 3218.1365 | 3191.8335 | 3165.5306 | 3139.2276 | 3112.9247 | 3086.6217 | 3060.3188
offshore wind | TRG 5 - Mid | 5953.3433 | 5828.2256 | 5702.8076 | 5546.3253 | 5389.8431 | 5233.3608 | 5076.8785 | 4882.0418 | 4687.2051 | 4492.3684 | 4467.318 | 4442.2676 | 4417.2171 | 4392.1667 | 4367.1163 | 4342.0658 | 4317.0154 | 4305.3252 | 4293.635 | 4281.9448 | 4270.2546 | 4258.5644 | 4246.8742 | 4235.184 | 4223.4938 | 4211.8036 | 4200.1134 | 4186.8259 | 4173.5385 | 4160.251 | 4146.9635 | 4133.6761 | 4120.3886 | 4107.1011 | 4093.8137 | 4080.5262 | 4067.2387
offshore wind | TRG 5 - High | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433
offshore wind | TRG 6 - Low | 5953.3433 | 5602.9376 | 5252.2315 | 5091.4912 | 4930.751 | 4770.0107 | 4609.2704 | 4414.4337 | 4219.5971 | 4024.7604 | 3966.3094 | 3907.8584 | 3849.4073 | 3790.9563 | 3732.5053 | 3674.0543 | 3615.6033 | 3586.3778 | 3557.1523 | 3527.9268 | 3498.7013 | 3469.4758 | 3440.2503 | 3411.0248 | 3381.7993 | 3352.5738 | 3323.3483 | 3297.0453 | 3270.7424 | 3244.4394 | 3218.1365 | 3191.8335 | 3165.5306 | 3139.2276 | 3112.9247 | 3086.6217 | 3060.3188
offshore wind | TRG 6 - Mid | 5953.3433 | 5828.2256 | 5702.8076 | 5546.3253 | 5389.8431 | 5233.3608 | 5076.8785 | 4882.0418 | 4687.2051 | 4492.3684 | 4467.318 | 4442.2676 | 4417.2171 | 4392.1667 | 4367.1163 | 4342.0658 | 4317.0154 | 4305.3252 | 4293.635 | 4281.9448 | 4270.2546 | 4258.5644 | 4246.8742 | 4235.184 | 4223.4938 | 4211.8036 | 4200.1134 | 4186.8259 | 4173.5385 | 4160.251 | 4146.9635 | 4133.6761 | 4120.3886 | 4107.1011 | 4093.8137 | 4080.5262 | 4067.2387
offshore wind | TRG 6 - High | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433
offshore wind | TRG 7 - Low | 5953.3433 | 5602.9376 | 5252.2315 | 5091.4912 | 4930.751 | 4770.0107 | 4609.2704 | 4414.4337 | 4219.5971 | 4024.7604 | 3966.3094 | 3907.8584 | 3849.4073 | 3790.9563 | 3732.5053 | 3674.0543 | 3615.6033 | 3586.3778 | 3557.1523 | 3527.9268 | 3498.7013 | 3469.4758 | 3440.2503 | 3411.0248 | 3381.7993 | 3352.5738 | 3323.3483 | 3297.0453 | 3270.7424 | 3244.4394 | 3218.1365 | 3191.8335 | 3165.5306 | 3139.2276 | 3112.9247 | 3086.6217 | 3060.3188
offshore wind | TRG 7 - Mid | 5953.3433 | 5828.2256 | 5702.8076 | 5546.3253 | 5389.8431 | 5233.3608 | 5076.8785 | 4882.0418 | 4687.2051 | 4492.3684 | 4467.318 | 4442.2676 | 4417.2171 | 4392.1667 | 4367.1163 | 4342.0658 | 4317.0154 | 4305.3252 | 4293.635 | 4281.9448 | 4270.2546 | 4258.5644 | 4246.8742 | 4235.184 | 4223.4938 | 4211.8036 | 4200.1134 | 4186.8259 | 4173.5385 | 4160.251 | 4146.9635 | 4133.6761 | 4120.3886 | 4107.1011 | 4093.8137 | 4080.5262 | 4067.2387
offshore wind | TRG 7 - High | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433 | 5953.3433
offshore wind | TRG 8 - Low | 6968.762 | 6557.4312 | 6145.8 | 5957.1357 | 5768.4714 | 5579.8071 | 5391.1429 | 5162.4589 | 4933.7749 | 4705.0909 | 4636.4857 | 4567.8805 | 4499.2753 | 4430.6701 | 4362.0649 | 4293.4598 | 4224.8546 | 4190.552 | 4156.2494 | 4121.9468 | 4087.6442 | 4053.3416 | 4019.039 | 3984.7364 | 3950.4338 | 3916.1312 | 3881.8286 | 3850.9562 | 3820.0839 | 3789.2116 | 3758.3392 | 3727.4669 | 3696.5946 | 3665.7222 | 3634.8499 | 3603.9775 | 3573.1052
offshore wind | TRG 8 - Mid | 6968.762 | 6822.3822 | 6675.7021 | 6491.7727 | 6307.8433 | 6123.9138 | 5939.9844 | 5711.3004 | 5482.6165 | 5253.9325 | 5224.5302 | 5195.128 | 5165.7258 | 5136.3236 | 5106.9213 | 5077.5191 | 5048.1169 | 5034.3958 | 5020.6748 | 5006.9538 | 4993.2327 | 4979.5117 | 4965.7907 | 4952.0696 | 4938.3486 | 4924.6275 | 4910.9065 | 4895.3107 | 4879.7149 | 4864.1192 | 4848.5234 | 4832.9276 | 4817.3318 | 4801.736 | 4786.1403 | 4770.5445 | 4754.9487
offshore wind | TRG 8 - High | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762
offshore wind | TRG 9 - Low | 6968.762 | 6557.4312 | 6145.8 | 5957.1357 | 5768.4714 | 5579.8071 | 5391.1429 | 5162.4589 | 4933.7749 | 4705.0909 | 4636.4857 | 4567.8805 | 4499.2753 | 4430.6701 | 4362.0649 | 4293.4598 | 4224.8546 | 4190.552 | 4156.2494 | 4121.9468 | 4087.6442 | 4053.3416 | 4019.039 | 3984.7364 | 3950.4338 | 3916.1312 | 3881.8286 | 3850.9562 | 3820.0839 | 3789.2116 | 3758.3392 | 3727.4669 | 3696.5946 | 3665.7222 | 3634.8499 | 3603.9775 | 3573.1052
offshore wind | TRG 9 - Mid | 6968.762 | 6822.3822 | 6675.7021 | 6491.7727 | 6307.8433 | 6123.9138 | 5939.9844 | 5711.3004 | 5482.6165 | 5253.9325 | 5224.5302 | 5195.128 | 5165.7258 | 5136.3236 | 5106.9213 | 5077.5191 | 5048.1169 | 5034.3958 | 5020.6748 | 5006.9538 | 4993.2327 | 4979.5117 | 4965.7907 | 4952.0696 | 4938.3486 | 4924.6275 | 4910.9065 | 4895.3107 | 4879.7149 | 4864.1192 | 4848.5234 | 4832.9276 | 4817.3318 | 4801.736 | 4786.1403 | 4770.5445 | 4754.9487
offshore wind | TRG 9 - High | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762
offshore wind | TRG 10 - Low | 6968.762 | 6557.4312 | 6145.8 | 5957.1357 | 5768.4714 | 5579.8071 | 5391.1429 | 5162.4589 | 4933.7749 | 4705.0909 | 4636.4857 | 4567.8805 | 4499.2753 | 4430.6701 | 4362.0649 | 4293.4598 | 4224.8546 | 4190.552 | 4156.2494 | 4121.9468 | 4087.6442 | 4053.3416 | 4019.039 | 3984.7364 | 3950.4338 | 3916.1312 | 3881.8286 | 3850.9562 | 3820.0839 | 3789.2116 | 3758.3392 | 3727.4669 | 3696.5946 | 3665.7222 | 3634.8499 | 3603.9775 | 3573.1052
offshore wind | TRG 10 - Mid | 6968.762 | 6822.3822 | 6675.7021 | 6491.7727 | 6307.8433 | 6123.9138 | 5939.9844 | 5711.3004 | 5482.6165 | 5253.9325 | 5224.5302 | 5195.128 | 5165.7258 | 5136.3236 | 5106.9213 | 5077.5191 | 5048.1169 | 5034.3958 | 5020.6748 | 5006.9538 | 4993.2327 | 4979.5117 | 4965.7907 | 4952.0696 | 4938.3486 | 4924.6275 | 4910.9065 | 4895.3107 | 4879.7149 | 4864.1192 | 4848.5234 | 4832.9276 | 4817.3318 | 4801.736 | 4786.1403 | 4770.5445 | 4754.9487
offshore wind | TRG 10 - High | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762 | 6968.762
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
coal | 1 | 1 | 1 | 1 | 0.98703 | 0.97196 | 0.95577 | 0.95013 | 0.94529 | 0.94045 | 0.93455 | 0.92947 | 0.9234 | 0.91594 | 0.91089 | 0.9048 | 0.89806 | 0.89202 | 0.88688 | 0.88055 | 0.87496 | 0.86962 | 0.86446 | 0.85842 | 0.8534 | 0.8478 | 0.84251 | 0.83696 | 0.8314 | 0.82585 | 0.82029 | 0.81474 | 0.80918 | 0.80363 | 0.79807 | 0.79252 | 0.78696
natural gas nonpeaker | 1 | 1 | 1 | 0.98784 | 0.9851 | 0.98159 | 0.9756 | 0.97273 | 0.96981 | 0.96694 | 0.96406 | 0.96107 | 0.9525 | 0.9459 | 0.93978 | 0.93543 | 0.93081 | 0.92661 | 0.92327 | 0.92031 | 0.9173 | 0.91392 | 0.91052 | 0.90758 | 0.904 | 0.90107 | 0.8977 | 0.89439 | 0.89108 | 0.88777 | 0.88446 | 0.88115 | 0.87784 | 0.87453 | 0.87122 | 0.86791 | 0.8646
nuclear | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.99469 | 0.98938 | 0.98407 | 0.97876 | 0.97345 | 0.96814 | 0.96283 | 0.95752 | 0.95221 | 0.9469 | 0.94159 | 0.93628 | 0.93097 | 0.92566 | 0.92035 | 0.91504 | 0.90973 | 0.90442 | 0.89911 | 0.8938 | 0.88849 | 0.88318 | 0.87787 | 0.87256 | 0.86725 | 0.86194 | 0.85663 | 0.85132
hydro | 1 | 0.99976 | 0.99466 | 0.98933 | 0.98399 | 0.97866 | 0.97333 | 0.968 | 0.96267 | 0.95734 | 0.95201 | 0.94669 | 0.94136 | 0.93604 | 0.93072 | 0.9254 | 0.92008 | 0.91476 | 0.90944 | 0.90413 | 0.89881 | 0.8935 | 0.89177 | 0.89004 | 0.88831 | 0.88658 | 0.88486 | 0.88313 | 0.88141 | 0.87968 | 0.87796 | 0.87624 | 0.87452 | 0.87281 | 0.87109 | 0.86937 | 0.86766
biomass | 1 | 0.99942 | 0.99884 | 0.98675 | 0.98358 | 0.98563 | 0.98286 | 0.98009 | 0.97733 | 0.97456 | 0.97179 | 0.96903 | 0.96626 | 0.96349 | 0.96073 | 0.95796 | 0.95519 | 0.95243 | 0.94966 | 0.94689 | 0.94413 | 0.94136 | 0.93859 | 0.93583 | 0.93306 | 0.93029 | 0.92753 | 0.92476 | 0.92199 | 0.91923 | 0.91646 | 0.91369 | 0.91093 | 0.90816 | 0.90539 | 0.90263 | 0.89986
geothermal | 1 | 1 | 0.99833 | 0.99667 | 0.995 | 0.99333 | 0.99167 | 0.99 | 0.98833 | 0.98667 | 0.985 | 0.98333 | 0.98167 | 0.98 | 0.97833 | 0.97667 | 0.975 | 0.97333 | 0.97167 | 0.97 | 0.96833 | 0.96667 | 0.965 | 0.96333 | 0.96167 | 0.96 | 0.95833 | 0.95667 | 0.955 | 0.95333 | 0.95167 | 0.95 | 0.94833 | 0.94667 | 0.945 | 0.94333 | 0.94167
natural gas peaker | 1 | 1 | 1 | 0.98784 | 0.98489 | 0.98118 | 0.9745 | 0.97155 | 0.96854 | 0.96559 | 0.96264 | 0.95954 | 0.94978 | 0.94236 | 0.93552 | 0.9308 | 0.92575 | 0.92122 | 0.91771 | 0.91464 | 0.91153 | 0.90797 | 0.90439 | 0.90137 | 0.89757 | 0.89454 | 0.891 | 0.88753 | 0.88405 | 0.88058 | 0.8771 | 0.87363 | 0.87015 | 0.86668 | 0.8632 | 0.85973 | 0.85625

## Cost Improvement (wind&solar)
Technology | Period | Overnight Cost($/W) |  |  | onshore wind | offshore wind | solar pv | solar thermal
|  | BAU/BAU with Carbon Cap/IPCC Target | Low Cost Renewables | 2010 | 1 | 1 | 1 | 1
Onshore Wind | 2010 | 1.2 |  | 2011 | 0.99583 | 0.975 | 0.96842 | 0.98087
| 2020 | 1.15 | 0.6 | 2012 | 0.99167 | 0.95 | 0.93684 | 0.96174
| 2030 | 1.1 | 0.6 | 2013 | 0.9875 | 0.925 | 0.90526 | 0.94261
| 2050 | 1 | 0.6 | 2014 | 0.98333 | 0.9 | 0.87368 | 0.92348
Offshore Wind | 2010 | 3 |  | 2015 | 0.97917 | 0.875 | 0.84211 | 0.90435
| 2020 | 2.25 | 1.5 | 2016 | 0.975 | 0.85 | 0.81053 | 0.88522
| 2030 | 2.15 | 1.5 | 2017 | 0.97083 | 0.825 | 0.77895 | 0.86609
| 2050 | 2 | 1.5 | 2018 | 0.96667 | 0.8 | 0.74737 | 0.84696
Central PV | 2010 | 2.2 |  | 2019 | 0.9625 | 0.775 | 0.71579 | 0.82783
| 2020 | 1.2 | 1 | 2020 | 0.95833 | 0.75 | 0.68421 | 0.8087
| 2030 | 1.2 | 1 | 2021 | 0.95417 | 0.74667 | 0.68158 | 0.79739
| 2050 | 1.2 | 1 | 2022 | 0.95 | 0.74333 | 0.67895 | 0.78609
Commercial PV | 2010 | 2.5 |  | 2023 | 0.94583 | 0.74 | 0.67632 | 0.77478
| 2020 | 1.5 | 1.25 | 2024 | 0.94167 | 0.73667 | 0.67368 | 0.76348
| 2030 | 1.5 | 1.25 | 2025 | 0.9375 | 0.73333 | 0.67105 | 0.75217
| 2050 | 1.5 | 1.25 | 2026 | 0.93333 | 0.73 | 0.66842 | 0.74087
Residential PV | 2010 | 2.9 |  | 2027 | 0.92917 | 0.72667 | 0.66579 | 0.72957
| 2020 | 2.5 | 1.5 | 2028 | 0.925 | 0.72333 | 0.66316 | 0.71826
| 2030 | 2.3 | 1.5 | 2029 | 0.92083 | 0.72 | 0.66053 | 0.70696
| 2050 | 2.1 | 1.5 | 2030 | 0.91667 | 0.71667 | 0.65789 | 0.69565
CSP without Storage | 2010 | 5 |  | 2031 | 0.9125 | 0.71417 | 0.65658 | 0.69174
| 2020 | 4.5 | 2.5 | 2032 | 0.90833 | 0.71167 | 0.65526 | 0.68783
| 2030 | 4 | 2.5 | 2033 | 0.90417 | 0.70917 | 0.65395 | 0.68391
| 2050 | 3.5 | 2.5 | 2034 | 0.9 | 0.70667 | 0.65263 | 0.68
CSP with Storage | 2010 | 6.5 |  | 2035 | 0.89583 | 0.70417 | 0.65132 | 0.67609
| 2020 | 4.8 | 3.07 | 2036 | 0.89167 | 0.70167 | 0.65 | 0.67217
| 2030 | 4 | 3.07 | 2037 | 0.8875 | 0.69917 | 0.64868 | 0.66826
| 2050 | 3.6 | 3.07 | 2038 | 0.88333 | 0.69667 | 0.64737 | 0.66435
|  |  |  | 2039 | 0.87917 | 0.69417 | 0.64605 | 0.66043
|  |  |  | 2040 | 0.875 | 0.69167 | 0.64474 | 0.65652
|  |  |  | 2041 | 0.87083 | 0.68917 | 0.64342 | 0.65261
|  |  |  | 2042 | 0.86667 | 0.68667 | 0.64211 | 0.6487
|  |  |  | 2043 | 0.8625 | 0.68417 | 0.64079 | 0.64478
|  |  |  | 2044 | 0.85833 | 0.68167 | 0.63947 | 0.64087
|  |  |  | 2045 | 0.85417 | 0.67917 | 0.63816 | 0.63696
|  |  |  | 2046 | 0.85 | 0.67667 | 0.63684 | 0.63304
|  |  |  | 2047 | 0.84583 | 0.67417 | 0.63553 | 0.62913
|  |  |  | 2048 | 0.84167 | 0.67167 | 0.63421 | 0.62522
|  |  |  | 2049 | 0.8375 | 0.66917 | 0.63289 | 0.6213
|  |  |  | 2050 | 0.83333 | 0.66667 | 0.63158 | 0.61739

## MSW HK
construction | 18.01 | billion HKD | excahneg rate | 0.1276
Operation | 1.338 | billion HKD/year
construction | 2.2981 | billion USD
Operation | 0.17073 | billion USD
capacity | 165 | MW
cost | 14962453.3333

## CCaMC-AFOaMCpUC
Fixed O&M ($/MW) | preexisting retiring | preexisting nonretiring | newly built
hard coal | 28508.56 | 28508.56 | 28508.56
natural gas nonpeaker | 7156.27 | 7156.27 | 7156.27
nuclear | 129298.36 | 129298.36 | 129298.36
hydro | 13002.6499 | 13002.6499 | 13002.6499
onshore wind | 10564.48 | 10564.48 | 10564.48
solar PV | 26013.09 | 26013.09 | 26013.09
solar thermal | 44500 | 44500 | 44500
biomass | 29071.74 | 29071.74 | 29071.74
geothermal | 104830 | 104830 | 104830
petroleum | 7340 | 0 | 7040
natural gas peaker | 3279.9571 | 3279.9571 | 3279.9571
lignite | 28508.56 | 28508.56 | 28508.56
offshore wind | 16905.11 | 16905.11 | 16905.11
crude oil | 7340 | 0 | 7040
heavy or residual fuel oil | 7340 | 0 | 7040
municipal solid waste | 14962453.3333 | 0 | 14962453.3333

## CCaMC-VOaMCpUC
Variable O&M ($/MWh) | preexisting retiring | preexisting nonretiring | newly built
coal | 3.5927 | 3.5927 | 3.5927
natural gas nonpeaker | 0.05826 | 0.05826 | 0.05826
nuclear | 4.5734 | 4.5734 | 4.5734
hydro | 6.2429 | 6.2429 | 6.2429
onshore wind | 0 | 0 | 0
solar PV | 0 | 0 | 0
solar thermal | 0 | 0 | 0
biomass | 2.6023 | 2.6023 | 2.6023
geothermal | 0 | 0 | 0
petroleum | 15.44 | 0 | 10.37
natural gas peaker | 0.18476 | 0.18476 | 0.18476
lignite | 3.5927 | 3.5927 | 3.5927
offshore wind | 0 | 0 | 0
crude oil | 15.44 | 0 | 10.37
heavy or residual fuel oil | 0.18476 | 0.18476 | 0.18476
municipal solid waste | 8.49 | 0 | 8.49

## CCaMC-BCCpUC
Year | Hard Coal ($/MW) | Natural Gas Nonpeaker ($/MW) | Nuclear ($/MW) | Hydro ($/MW) | Onshore Wind ($/MW) | Solar PV ($/MW) | Solar Thermal ($/MW) | Biomass ($/MW) | Geothermal ($/MW) | Petroleum ($/MW) | Natural Gas Peaker ($/MW) | Lignite ($/MW) | Offshore Wind ($/MW) | crude oil | heavy or residual fuel oil | municipal solid waste
2016 | 1229917.15 | 346899.46 | 2002567.49 | 1606503.822 | 1308317.1465 | 1022434.7899 | 3377104.3478 | 1637981.7731 | 3373821.2998 | 654224.4474 | 228878.6014 | 1229917.15 | 1934034.4015 | 654224.4474 | 654224.4474 | 7982156.7055
2017 | 1229917.15 | 342682.0717 | 2002567.49 | 1597887.3115 | 1302726.0476 | 982599.6682 | 3304121.7391 | 1618162.4021 | 3368188.877 | 654225.4474 | 226096.0375 | 1229917.15 | 1877151.0367 | 654225.4474 | 654225.4474 | 7971502.8111
2018 | 1213965.8324 | 341729.4354 | 2002567.49 | 1589270.801 | 1297134.9487 | 942764.5465 | 3231139.1304 | 1612963.8015 | 3362556.4541 | 652272.3387 | 225421.0559 | 1213965.8324 | 1820267.672 | 652272.3387 | 652272.3387 | 7982156.7055
2019 | 1195434.1596 | 340511.435 | 2002567.49 | 1580658.2673 | 1291543.8498 | 902929.4248 | 3158156.5217 | 1616311.4585 | 3356924.0312 | 649811.886 | 224570.7395 | 1195434.1596 | 1763384.3072 | 649811.886 | 649811.886 | 7971502.8111
2020 | 1175523.3293 | 338436.0497 | 2002567.49 | 1572045.7336 | 1285952.7508 | 863094.3032 | 3085173.913 | 1611775.3579 | 3351291.6084 | 645390.9525 | 223042.8938 | 1175523.3293 | 1706500.9425 | 645390.9525 | 645390.9525 | 7958626.5966
2021 | 1168582.0971 | 337439.9228 | 2002567.49 | 1563437.16 | 1280361.6519 | 859774.7097 | 3042047.8261 | 1607238.2072 | 3345659.1855 | 643437.6942 | 222367.8605 | 1168582.0971 | 1698916.4939 | 643437.6942 | 643437.6942 | 8047515.0386
2022 | 1162627.4637 | 336425.5179 | 2002567.49 | 1554828.5864 | 1274770.553 | 856455.1162 | 2998921.7391 | 1602701.2445 | 3340026.7626 | 641442.6733 | 221678.3943 | 1162627.4637 | 1691332.0452 | 641442.6733 | 641442.6733 | 7840906.0539
2023 | 1156673.0407 | 335429.2509 | 1991933.0106 | 1546223.9485 | 1269179.4541 | 853135.5227 | 2955795.6522 | 1598163.3193 | 3334394.3397 | 639489.1666 | 221003.2752 | 1156673.0407 | 1683747.5966 | 639489.1666 | 639489.1666 | 7803020.8428
2024 | 1149424.5086 | 334433.4413 | 1981300.7469 | 1537619.3105 | 1263588.3552 | 849815.9293 | 2912669.5652 | 1593627.3296 | 3328761.9169 | 637536.4093 | 220328.415 | 1149424.5086 | 1676163.148 | 637536.4093 | 637536.4093 | 7768616.5589
2025 | 1143177.0394 | 333393.3773 | 1970666.5488 | 1529018.59 | 1257997.2563 | 846496.3358 | 2869543.4783 | 1589089.5518 | 3323129.494 | 635482.8612 | 219618.7222 | 1143177.0394 | 1668578.6993 | 635482.8612 | 635482.8612 | 7764569.8126
2026 | 1135699.7247 | 330422.5076 | 1960034.0793 | 1520417.8695 | 1252406.1573 | 843176.7423 | 2826417.3913 | 1584553.5184 | 3317497.0711 | 629014.6123 | 217383.3377 | 1135699.7247 | 1660994.2507 | 629014.6123 | 629014.6123 | 7757634.4939
2027 | 1126525.2249 | 328133.1773 | 1949400.6498 | 1511821.0466 | 1246815.0584 | 839857.1488 | 2783291.3043 | 1580016.3115 | 3311864.6483 | 624104.6384 | 215686.4828 | 1126525.2249 | 1653409.8021 | 624104.6384 | 624104.6384 | 7746868.1516
2028 | 1120315.2627 | 326010.5215 | 1938766.7993 | 1503224.2237 | 1241223.9595 | 836537.5554 | 2740165.2174 | 1575478.9906 | 3306232.2254 | 619575.8191 | 214121.3525 | 1120315.2627 | 1645825.3534 | 619575.8191 | 619575.8191 | 7728499.665
2029 | 1112826.9219 | 324500.8869 | 1928134.643 | 1494631.2785 | 1235632.8606 | 833217.9619 | 2697039.1304 | 1570943.0756 | 3300599.8025 | 616448.3808 | 213040.5302 | 1112826.9219 | 1638240.9048 | 616448.3808 | 616448.3808 | 7694951.9782
2030 | 1104540.3071 | 322896.2773 | 1917500.8147 | 1486038.3334 | 1230041.7617 | 829898.3684 | 2653913.0435 | 1566405.7913 | 3294967.3796 | 613103.99 | 211884.7307 | 1104540.3071 | 1630656.4562 | 613103.99 | 613103.99 | 7673261.2196
2031 | 1097110.6825 | 321440.8793 | 1906866.1099 | 1477449.2462 | 1224450.6628 | 828238.5717 | 2638984.7826 | 1561867.7036 | 3289334.9568 | 610100.7034 | 210846.8144 | 1097110.6825 | 1624968.1197 | 610100.7034 | 610100.7034 | 7651766.5026
2032 | 1090789.4111 | 320282.8505 | 1896233.6584 | 1468860.1591 | 1218859.5638 | 826578.7749 | 2624056.5217 | 1557331.4364 | 3283702.5339 | 607777.3087 | 210043.8644 | 1090789.4111 | 1619279.7832 | 607777.3087 | 607777.3087 | 7626303.736
2033 | 1082999.3386 | 319253.5518 | 1885600.7175 | 1460274.9086 | 1213268.4649 | 824918.9782 | 2609128.2609 | 1552795.0286 | 3278070.111 | 605748.1 | 209342.5832 | 1082999.3386 | 1613591.4467 | 605748.1 | 605748.1 | 7603867.432
2034 | 1076122.503 | 318209.3071 | 1874967.3679 | 1451689.6581 | 1207677.366 | 823259.1815 | 2594200 | 1548257.9319 | 3272437.6882 | 603684.8101 | 208629.5237 | 1076122.503 | 1607903.1103 | 603684.8101 | 603684.8101 | 7587101.1716
2035 | 1069554.6979 | 317037.7193 | 1864333.7749 | 1443108.2259 | 1202086.2671 | 821599.3847 | 2579271.7391 | 1543720.7741 | 3266805.2653 | 601330.375 | 207815.8463 | 1069554.6979 | 1602214.7738 | 601330.375 | 601330.375 | 7561294.8638
2036 | 1063214.3963 | 315858.1946 | 1853699.8441 | 1440312.0342 | 1196495.1682 | 819939.588 | 2564343.4783 | 1539183.2649 | 3261172.8424 | 598957.8049 | 206995.9016 | 1063214.3963 | 1596526.4373 | 598957.8049 | 598957.8049 | 7538547.4767
2037 | 1055784.0033 | 314840.6059 | 1843066.9354 | 1437519.641 | 1190904.0693 | 818279.7913 | 2549415.2174 | 1534646.7561 | 3255540.4195 | 596955.4197 | 206303.8904 | 1055784.0033 | 1590838.1008 | 596955.4197 | 596955.4197 | 7514086.0827
2038 | 1049611.4969 | 313598.5996 | 1832433.2625 | 1434727.2477 | 1185312.9703 | 816619.9945 | 2534486.9565 | 1530109.538 | 3249907.9967 | 594440.0802 | 205434.6055 | 1049611.4969 | 1585149.7644 | 594440.0802 | 594440.0802 | 7493538.9829
2039 | 1042723.8261 | 312579.5013 | 1821800.7434 | 1431938.6348 | 1179721.8714 | 814960.1978 | 2519558.6957 | 1525573.1594 | 3244275.5738 | 592434.1643 | 204741.374 | 1042723.8261 | 1579461.4279 | 592434.1643 | 592434.1643 | 7469211.2115
2040 | 1036220.1787 | 311412.1249 | 1811165.996 | 1429150.0219 | 1174130.7725 | 813300.4011 | 2504630.4348 | 1521035.1969 | 3238643.1509 | 590089.4711 | 203931.0634 | 1036220.1787 | 1573773.0914 | 590089.4711 | 590089.4711 | 7445775.4434
2041 | 1029388.1659 | 310263.7097 | 1800532.5141 | 1426365.1679 | 1168539.6736 | 811640.6043 | 2489702.1739 | 1516498.1375 | 3233010.7281 | 587788.0192 | 203135.6967 | 1029388.1659 | 1568084.7549 | 587788.0192 | 587788.0192 | 7429595.5857
2042 | 1022556.153 | 309115.2945 | 1789899.0322 | 1423580.3139 | 1162948.5747 | 809980.8076 | 2474773.913 | 1511961.0781 | 3227378.3052 | 585486.5673 | 202340.3299 | 1022556.153 | 1562396.4185 | 585486.5673 | 585486.5673 | 7397570.8488
2043 | 1015724.1402 | 307966.8792 | 1779265.5504 | 1420799.2005 | 1157357.4758 | 808321.0108 | 2459845.6522 | 1507424.0186 | 3221745.8823 | 583185.1154 | 201544.9632 | 1015724.1402 | 1556708.082 | 583185.1154 | 583185.1154 | 7385036.9683
2044 | 1008892.1273 | 306818.464 | 1768632.0685 | 1418018.0872 | 1151766.3768 | 806661.2141 | 2444917.3913 | 1502886.9592 | 3216113.4594 | 580883.6635 | 200749.5965 | 1008892.1273 | 1551019.7455 | 580883.6635 | 580883.6635 | 7354522.1213
2045 | 1002060.1145 | 305670.0487 | 1757998.5866 | 1415240.6962 | 1146175.2779 | 805001.4174 | 2429989.1304 | 1498349.8997 | 3210481.0366 | 578582.2116 | 199954.2297 | 1002060.1145 | 1545331.409 | 578582.2116 | 578582.2116 | 7340437.2227
2046 | 995228.1016 | 304521.6335 | 1747365.1047 | 1412463.3053 | 1140584.179 | 803341.6206 | 2415060.8696 | 1493812.8403 | 3204848.6137 | 576280.7597 | 199158.863 | 995228.1016 | 1539643.0726 | 576280.7597 | 576280.7597 | 7312648.7934
2047 | 988396.0888 | 303373.2182 | 1736731.6229 | 1409689.6153 | 1134993.0801 | 801681.8239 | 2400132.6087 | 1489275.7809 | 3199216.1908 | 573979.3078 | 198363.4963 | 988396.0888 | 1533954.7361 | 573979.3078 | 573979.3078 | 7291302.5022
2048 | 981564.0759 | 302224.803 | 1726098.141 | 1406915.9254 | 1129401.9812 | 800022.0272 | 2385204.3478 | 1484738.7214 | 3193583.768 | 571677.8559 | 197568.1296 | 981564.0759 | 1528266.3996 | 571677.8559 | 571677.8559 | 7269844.3251
2049 | 974732.0631 | 301076.3878 | 1715464.6591 | 1404145.9198 | 1123810.8823 | 798362.2304 | 2370276.087 | 1480201.662 | 3187951.3451 | 569376.404 | 196772.7628 | 974732.0631 | 1522578.0631 | 569376.404 | 569376.404 | 7247772.4406
2050 | 967900.0503 | 299927.9725 | 1704831.1772 | 1401375.9141 | 1118219.7833 | 796702.4337 | 2355347.8261 | 1475664.6026 | 3182318.9222 | 567074.9522 | 195977.3961 | 967900.0503 | 1516889.7267 | 567074.9522 | 567074.9522 | 7173106.1112