## About
SLF System Load Factor
Sources: | HK Power Generation &HK Peak Demand
Hong Kong Energy Statistics Annual Report
Census and Statistics Department, HK
2017 Edition
https://www.censtatd.gov.hk/hkstat/sub/sp90.jsp?productCode=B1100002
2012 Peak demand(just as refernce)
Hong Kong Government Press Releases
news.gov.hk
LCQ7: Electricity demand and the power grid-Annex2
https://www.info.gov.hk/gia/general/201312/11/P201312110295.htm
Note | 1. The Hong Kong C&SD’s annual energy statistics reports offers data of electricity peak demand and generation.
These data are used to compute to get the final data of average SLF(system load factor)
2. The 2012 Load factor is also calculated as reference, using data in an annex of a Hong Kong government's press release.
The result is slightly different from the above results.

## HK Peak Demand
電力最高裝機容量、最高需求量及產電量
Maximum installed generating capacity, peak demand and electricity generated
Year | Maximum installed generating capacity(MW)(1) | Peak demand (MW)(2) | Electricity generated(TJ,including import from Mainland China)
2007 | 12644 | 10282 | 177445
2008 | 12624 | 10788 | 175648
2009 | 12624 | 10153 | 178888
2010 | 12624 | 9859 | 175688
2011 | 12624 | 10296 | 179141
2012 | 12625 | 9925 | 179666
2013 | 12625 | 10068 | 176517
2014 | 12625 | 9962 | 180329
2015 | 12625 | 10009 | 178797
2016 | 12650 | 9937 | 179191
2017 | 12492 | 10696 | 178176
註釋 : 1 太焦耳 = 10 焦耳。Notes : 1 terajoule = 10 joules.
(1)指全年每天最高數字的平均。Refers to the average of the daily maxima during the year
(2)電力公司年內的最高需求量不一定在同一
時間出現。作為一項概括性指標，最高需
求量總計是以兩間電力公司各自最高需求
量的總和計算。
Electricity companies' peak demands in a year do not
necessarily occur at the same time. As a broad
indicator, the aggregate peak demand is taken to be the
arithmetic sum of individual peak demands of the two
electricity companies.
(3)位於大亞灣的廣東核電站於1993年開始投
產，1993年及以後的「產電量」包括由中
國內地進口的電力。
As from 1993, when the Guangdong Nuclear Power
station at Daya Bay started operation, "electricity
generated" includes electricity imported from the
mainland of China.
* 修訂2016年度數字。 * Revised figure for 2016(Maximum installed generating capacity)

## System Load Factor by Year
As reference: HK 2012 Load factor
(Peak demand data is from HK Gov's news press LCQ7 and average generation from annual energy statistic report; origin sheets hidden）
Hong Kong | Average MW | Peak MW(From 2 companies) | System Load Factor
2012 | 4423.7062 | 7695 | 0.57488
From HK annual energy statistic report:
Hong Kong | Average MW | Peak MW | System Load Factor
2007 | 5626.744 | 10282 | 0.54724
2008 | 5569.7615 | 10788 | 0.51629
2009 | 5672.5013 | 10153 | 0.5587
2010 | 5571.0299 | 9859 | 0.56507
2011 | 5680.5238 | 10296 | 0.55172
2012 | 5697.1715 | 9925 | 0.57402
2013 | 5597.3174 | 10068 | 0.55595
2014 | 5718.1951 | 9962 | 0.574
2015 | 5669.6157 | 10009 | 0.56645
2016 | 5682.1093 | 9937 | 0.57181
2017 | 5649.9239 | 10696 | 0.52823
Note on B4: 微软用户: not including Imports from mainland China
Note on B8: 微软用户: including imports from mainland China

## HK Power Generation (hidden)
From: Hong Kong Energy Statistics Annual Report-2017
Electricity production, imports, exports and consumption |  |  |  | Unit: TJ(terajoule) |  | For Checking
Year | Electricity generated at local plants | Imports of electricity from the mainland of China | System Loss | Exports of electricity to the mainland of China | Local electricity consumption, as measured at meter points | Col:B+C-E | Col:D+F
2007 | 140212 | 37233 | 15847 | 14527 | 147072 | 162918 | 162919
2008 | 136765 | 38883 | 15514 | 12789 | 147345 | 162859 | 162859
2009 | 139420 | 39468 | 16089 | 13432 | 149366 | 165456 | 165455
2010 | 137850 | 37838 | 15590 | 9392 | 150705 | 166296 | 166295
2011 | 140495 | 38646 | 17064 | 10645 | 151432 | 168496 | 168496
2012 | 139506 | 40160 | 18139 | 6617 | 154911 | 173049 | 173050
2013 | 140628 | 35889 | 17376 | 5940 | 153201 | 170577 | 170577
2014 | 143291 | 37038 | 17948 | 4414 | 157967 | 175915 | 175915
2015 | 136525 | 42272 | 16441 | 4273 | 158083 | 174524 | 174524
2016 | 137356 | 41835 | 16352 | 4338 | 158500 | 174853 | 174852
2017 | 132902 | 45274 | 15744 | 4828 | 157604 | 173348 | 173348
Notes: | 1 terajoule = 10^12 joules.
"System loss" includes energy lossess in electricity generation, transmission and distribution.
It also includes electricity consumed within the electricity companies, such as in their offices and staff residence.
From: Hong Kong Energy Statistics Annual Report-2010
Year | Electricity generated at local plants | Imports of electricity from the mainland of China | System Loss | Exports of electricity to the mainland of China | Local electricity consumption, as measured at meter points
2000 | 112783 | 36732 | 14587 | 4253 | 130675
2001 | 116745 | 37278 | 14192 | 5692 | 134139
2002 | 123522 | 36655 | 15235 | 7830 | 137112
2003 | 127822 | 37428 | 15988 | 10827 | 138435
2004 | 133663 | 35413 | 16763 | 11112 | 141201
2005 | 138414 | 39604 | 17654 | 16192 | 144172
2006 | 139005 | 39230 | 16731 | 16300 | 145204
2007 | 140212 | 39453 | 18066 | 14527 | 147072
2008 | 136765 | 40668 | 17299 | 12789 | 147345
2009 | 139420 | 41725 | 18347 | 13432 | 149366
2010 | 137850 | 39765 | 17518 | 9392 | 150705
Notes: | 1 terajoule = 10^12 joules.
"System loss" includes energy lossess in electricity generation, transmission and distribution.
It also includes electricity consumed within the electricity companies, such as in their offices and staff residence.

## 2012 Peak Deamnd (hidden)
Month | 2012 Local Maximum Demand(MW)
| HKE | CLP
1 | 1647 | 4433
2 | 1740 | 4617
3 | 1836 | 4835
4 | 2157 | 5641
5 | 2324 | 6214
6 | 2383 | 6472
7 | 2432 | 6598
8 | 2494 | 6769
9 | 2396 | 6441
10 | 2045 | 5476
11 | 1933 | 5116
12 | 1706 | 4635
SUM | 25093 | 67247
Average | 2091.0833 | 5603.9167

## SLF
System Load Factor
Ratio | 0.55541